## Home
This tool allows to calculate the performance of a building
using the CESBA Key Performance Indicators.
The tool represents the minimum version of the CESBA SBTool.
CESBA KPIs SBTool |  | STEPS | Sheet "Weights"
|  | 1 | Assign the weight factor to Issues
Elaborated by |  | 2 | Assign weight factors "Extent, Duration and Intensity of the potential effect" to criteria
|  | 3 | Set the weight of criteria
Sheet "Scores B,C,D,G"
|  | 4 | Input bechmarks in the yellow cells. Values for score 5,3 and -1 are automatically calculated
|  | 5 | Input the indicators' value in the green cells. The score is automatilcally calculated.
Author: Andrea Moro |  |  | Sheet "Passport - KPIs"
Version | 1.2 | 6 | No input here. The KPIs values are showed.
Date 31.10.18 |  |  | Sheet "Scores"
|  | 7 | No input here. Scores of criteria, categories and issues are showed
Sheet "Label"
|  | 8 | No input here. Total score and level of performance reached are showed.
Note: fill only the yellow cells
and green cells

## Weights
ISSUES WEIGHT |  | STEP 1 |  |  |  | STEP 1 | Assign the weight factor to Issues
Code | Issue | Weighting factor (1 to 3 points) | Suggested Weight | Weight (from STEP3) |  | STEP 2* | Assign the weight factors Extend, Duration and Intensity of the potential effect to criteria
B | Energy and Resources Consumption | 3 | 70.73% | 58% |  | STEP 3** | For each criterion, set its weight in percentage (column J, yellow cell).
C | Environmental Loadings | 3 | 24.17% | 23% |  |  | You can take the values indicated in "Suggested weight" or modify it.
D | Indoor Environmental Quality | 2 | 3.536% | 11%
G | Cost and Economic Aspects | 1 | 1.572% | 8% |  | *Extent, Duration and Intensity values are described below
|  | TOT | 100% | 100% |  | ** The tool uses the weights set of Column J for agregating the scores
Check: all sums must be 100%
CATEGORIES AND CRITERIA WEIGHTS |  | STEP 2 | STEP 2 | STEP 2 |  |  |  | STEP 3
Code | Name | Extent of potential effect (1 to 5 points) | Duration of the potential effect (1 to 5 points) | Intensity of the potential effect (1 to 3 points) | Issue Weighting Factor | Weighting factor | Suggested Weight | Weight (set zero if not applicable)
B | Energy and Resource Consumption | [5 empty] | 70.73% | 58%
B1 | Total life cycle non renewable energy | [5 empty] | 58.94% | 45%
B1.1 | Primary energy demand | 5 | 5 | 2 | 3 | 150 | 9.823% | 8%
B1.2 | Delivered thermal energy demand | 5 | 5 | 2 | 3 | 150 | 9.823% | 8%
B1.3 | Delivered electric energy demand | 5 | 5 | 2 | 3 | 150 | 9.823% | 5%
B1.5 | Energy from renewable sources in total thermal energy consumtion | 5 | 5 | 2 | 3 | 150 | 9.823% | 8%
B1.6 | Energy from renewable sources in total electric energy consumtion | 5 | 5 | 2 | 3 | 150 | 9.823% | 8%
B1.11 | Embodied non-renewable primary energy | 5 | 5 | 2 | 3 | 150 | 9.823% | 8%
B3 | Use of materials | [5 empty] | 4.715% | 5%
B3.5 | Recycled materials | 4 | 3 | 2 | 3 | 72 | 4.715% | 5%
B4 | Use of potable water, stormwater and greywater | [5 empty] | 7.073% | 8%
B4.5 | Potable water consumption for indoor uses | 4 | 3 | 3 | 3 | 108 | 7.073% | 8%
C | Environmental Loadings | [5 empty] | 24.17% | 23%
C1 | Greenhouse Gas Emissions | [5 empty] | 14.73% | 15%
C1.3 | Global Warming Potential | 5 | 5 | 3 | 3 | 225 | 14.73% | 15%
C3 | Solid and Liquid Wastes | [5 empty] | 9.43% | 8%
C3.1 | Construction and demolition waste | 4 | 3 | 2 | 3 | 72 | 4.715% | 4%
C3.2 | Solid waste from building operation | 4 | 3 | 2 | 3 | 72 | 4.715% | 4%
D | Indoor Environmental Quality | [5 empty] | 3.536% | 11%
D1 | Indoor Air Quality and Ventilation | [5 empty] | 2.358% | 8%
D1.4 | TVOC concentration in indoor air | 1 | 3 | 3 | 2 | 18 | 1.179% | 4%
D1.10 | Ventilation rate | 1 | 3 | 3 | 2 | 18 | 1.179% | 4%
D2 | Air Temperature and Relative humidity | [5 empty] | 1.179% | 3%
D2.2 | Thermal comfort index | 1 | 3 | 3 | 2 | 18 | 1.179% | 3%
G | Cost and Economic Aspects | [5 empty] | 1.572% | 8%
G1 | Cost and Economics | [5 empty] | 1.572% | 8%
G1.4 | Use stage energy cost | 2 | 3 | 3 | 1 | 18 | 1.179% | 4%
G1.5 | Use stage water cost | 2 | 3 | 1 | 1 | 6 | 0.3929% | 4%
[5 empty] | TOT | 1527 | 100% | 100% | Check: all sums must be 100%
[5 empty] | Categories |  | 100% | 100%
[5 empty] | Issues |  | 100% | 100%
Extent of the potential effect
Building | 1
Site | 2
Neighborhood | 3
Urban/Region | 4
Global | 5
Duration of the potential effect
1 to 3 years | 1
3 to 10 years | 2
10-30 years | 3
30 to 75 years | 4
>75 years | 5
Intensity of the potential effect
Minor | 1
Moderate | 2
Major | 3
Note on K14: Andrea Moro:

## Scores B
STEP 4 | Benchmark
STEP 5 | Indicator value
B1.1 | Primary energy demand |  | B1.2 | Delivered thermal energy demand |  | B1.3 | Delivered electric energy demand
Indicator | Primary energy demand per internal useful floor area per year |  | Indicator | Delivered thermal energy demand per internal useful floor area per year |  | Indicator | Delivered electric energy demand per internal useful floor area per year
| 76 | kWh/m2/y |  | 50 | kWh/m2/y |  | 25 | kWh/m2/y
Score | 0.4 |  | Score | 2 |  | Score | 2.5
Weighted S | 0.032 |  | Weighted S | 0.16 |  | Weighted S | 0.125
| Benchmark | Score |  | Benchmark | Score |  | Benchmark | Score
Negative | 90 | -1 | Negative | 80 | -1 | Negative | 32 | -1
Minimum | 80 | 0 | Minimum | 70 | 0 | Minimum | 30 | 0
Good | 50 | 3 | Good | 40 | 3 | Good | 24 | 3
Best | 30 | 5 | Best | 20 | 5 | Best | 20 | 5
B1.5 | Energy from renewable sources in total thermal energy consumption |  | B1.6 | Energy from renewable sources in total electric energy consumption |  | B1.11 | Embodied non renewable primary energy
Indicator | Share of renewable energy in final thermal energy consumptions |  | Indicator | Share of renewable energy in final electric energy consumption |  | Indicator | Embodied primary non-renewable energy
| 32 | % |  | 70 | % |  | 110 | MJ/m2
Score | 0.14286 |  | Score | 2.5 |  | Score | -1
Weighted Score | 0.011429 |  | Weighted Score | 0.2 |  | Weighted Score | -0.08
| Benchmark | Score |  | Benchmark | Score |  | Benchmark | Score
Negative | 16 | -1 | Negative | 28 | -1 | Negative | 110 | -1
Minimum | 30 | 0 | Minimum | 40 | 0 | Minimum | 100 | 0
Good | 72 | 3 | Good | 76 | 3 | Good | 70 | 3
Best | 100 | 5 | Best | 100 | 5 | Best | 50 | 5
B3.5 | Recicled materials |  | B4.5 | Potable water consumption for indoor uses
Indicator | Weight of recycled materials on total weight of materials |  | Indicator | Potable water consumption per occupant per year
| 15 | % |  | 35 | m3/occupant/year
Score | 0.625 |  | Score | 1.6667
Weighted Score | 0.03125 |  | Weighted Score | 0.13333
| Benchmark | Score |  | Benchmark | Score
Negative | 2 | -1 | Negative | 43 | -1
Minimum | 10 | 0 | Minimum | 40 | 0
Good | 34 | 3 | Good | 31 | 3
Best | 50 | 5 | Best | 25 | 5

## Scores C
STEP 4 | Benchmark
STEP 5 | Indicator value
C1.3 | Global Warming Potential |  | C3.1 | Construction and demolition waste |  | C3.2 | Solid wase from building operation
Indicator | CO2 equivalent emissions per internal useful floor area per year |  | Indicator | Weight of waste and materials generated per 1 m2 of useful floor area demolished or constructed |  | Indicator | Ratio of the number of collectable solid waste categories within a 100 m distance from the building’s entrance to the reference solid waste categories
| 13 | Kg CO2 eq/m2/year |  | 60 | Kg/m2 |  | 20 | %
Score | 2.8333 |  | Score | 2.5 |  | Score | 0.29412
Weighted Score | 0.425 |  | Weighted Score | 0.1 |  | Weighted Score | 0.011765
| Benchmark | Score |  | Benchmark | Score |  | Benchmark | Score
Negative | 36 | -1 | Negative | 116 | -1 | Negative | 0 | -1
Minimum | 30 | 0 | Minimum | 100 | 0 | Minimum | 15 | 0
Good | 12 | 3 | Good | 52 | 3 | Good | 66 | 3
Best | 0 | 5 | Best | 20 | 5 | Best | 100 | 5

## Scores D
STEP 4 | Benchmark
STEP 5 | Indicator value
D1.4 | TVOC concentration in indoor air |  | D1.10 | Ventilation rate
Indicator | TVOC concentration in indoor air |  | Indicator | Ventilation rate normalized per useful floor area
| 4900 | mg/m3 |  | 18 | l/s/m2
Score | 0.125 |  | Score | 4
Weighted Score | 0.005 |  | Weighted Score | 0.16
| Benchmark | Score |  | Benchmark | Score
Negative | 5800 | -1 | Negative | 8 | -1
Minimum | 5000 | 0 | Minimum | 10 | 0
Good | 2600 | 3 | Good | 16 | 3
Best | 1000 | 5 | Best | 20 | 5
D2.2 | Thermal comfor tindex
Indicator | Predicted Percentage Dissatisfied (PPD)
| 7 | PPD - %
Score | 2
Weighted Score | 0.06
| Benchmark | Score
Negative | 4 | -1
Minimum | 5 | 0
Good | 8 | 3
Best | 10 | 5

## Scores G
STEP 4 | Benchmark
STEP 5 | Indicator value
G1.4 | Use stage energy cost |  | G1.5 | Use stage water cost
Indicator | Energy annual cost per usable floor area |  | Indicator | Water annual cost per usable floor area
| 16 | euro/m2/year |  | 3 | euro/m2/year
Score | 2 |  | Score | 2.5
Weighted Score | 0.08 |  | Weighted Score | 0.1
| Benchmark | Score |  | Benchmark | Score
Negative | 22 | -1 | Negative | 5.8 | -1
Minimum | 20 | 0 | Minimum | 5 | 0
Good | 14 | 3 | Good | 2.6 | 3
Best | 10 | 5 | Best | 1 | 5

## Performance Scores
Code | Name | Score
B | Energy and Resource Consumption | 1.0569 | PERFORMANCE SCORES
B1 | Total life cycle non renewable energy | 0.99651
B1.1 | Primary energy demand | 0.4 | -1 | Negative
B1.2 | Delivered thermal energy demand | 2 | 0 | Minimum
B1.3 | Delivered electric energy demand | 2.5 | 3 | Good
B1.5 | Energy from renewable sources in total thermal energy consumtion | 0.14286 | 5 | Best
B1.6 | Energy from renewable sources in total electric energy consumtion | 2.5
B1.11 | Embodied non-renewable primary energy | -1
B3 | Use of materials | 0.625
B3.5 | Recycled materials | 0.625
B4 | Use of potable water, stormwater and greywater | 1.6667
B4.5 | Potable water consumption for indoor uses | 1.6667
C | Environmental Loadings | 2.3338
C1 | Greenhouse Gas Emissions | 2.8333
C1.3 | Global Warming Potential | 2.8333
C3 | Solid and Liquid Wastes | 1.3971
C3.1 | Construction and demolition waste | 2.5
C3.2 | Solid waste from building operation | 0.29412
D | Indoor Environmental Quality | 3.5
D1 | Indoor Air Quality and Ventilation | 2.0625
D1.4 | TVOC concentration in indoor air | 0.125
D1.10 | Ventilation rate | 0.16
D2 | Air Temperature and Relative humidity | 7.3333
D2.2 | Thermal comfort index | 2
G | Cost and Economic Aspects | 2.25
G1 | Cost and Economics | 2.25
G1.4 | Use stage energy cost | 2
G1.5 | Use stage water cost | 2.5

## Passport - KPIs
Code | Name | Indicator | Value | Unit | CESBA BUILDING PASSPORT
B | Energy and Resource Consumption
B1 | Total life cycle non renewable energy
B1.1 | Primary energy demand | Primary energy demand per internal useful floor area per year | 76 | kWh/m2/y
B1.2 | Delivered thermal energy demand | Delivered thermal energy demand per internal useful floor area per year | 50 | kWh/m2/y
B1.3 | Delivered electric energy demand | Delivered electric energy demand per internal useful floor area per year | 25 | kWh/m2/y
B1.5 | Energy from renewable sources in total thermal energy consumtion | Share of renewable energy in final thermal energy consumptions | 32 | %
B1.6 | Energy from renewable sources in total electric energy consumtion | Share of renewable energy in final electric energy consumption | 70 | %
B1.11 | Embodied non-renewable primary energy | Embodied primary non-renewable energy | 110 | MJ/m2
B3 | Use of materials
B3.5 | Recycled materials | Weight of recycled materials on total weight of materials | 15 | %
B4 | Use of potable water, stormwater and greywater
B4.5 | Potable water consumption for indoor uses | Potable water consumption per occupant per year | 35 | m3/occupant/year
C | Environmental Loadings
C1 | Greenhouse Gas Emissions
C1.3 | Global Warming Potential | CO2 equivalent emissions per internal useful floor area per year | 13 | Kg CO2 eq/m2/year
C3 | Solid and Liquid Wastes
C3.1 | Construction and demolition waste | Weight of waste and materials generated per 1 m2 of useful floor area demolished or constructed | 60 | Kg/m2
C3.2 | Solid waste from building operation | Ratio of the number of collectable solid waste categories within a 100 m distance from the building’s entrance to the reference solid waste categories | 20 | %
D | Indoor Environmental Quality
D1 | Indoor Air Quality and Ventilation
D1.4 | TVOC concentration in indoor air | TVOC concentration in indoor air | 4900 | mg/m3
D1.10 | Ventilation rate | Ventilation rate normalized per useful floor area | 18 | l/s/m2
D2 | Air Temperature and Relative humidity
D2.2 | Thermal comfort index | Predicted Percentage Dissatisfied (PPD) | 7 | %
G | Cost and Economic Aspects
G1 | Cost and Economics
G1.4 | Use stage energy cost | Energy annual cost per usable floor area | 16 | euro/m2/year
G1.5 | Use stage water cost | Water annual cost per usable floor area | 3 | euro/m2/year

## Label
ISSUE |  | Score | Weight
B | Energy and Resource Consumption | 1.0569 | 58%
C | Environmental Loadings | 2.3338 | 23%
D | Indoor Environmental Quality | 3.5 | 11%
G | Cost and Economic Aspects | 2.25 | 8%
TOTAL BUILDING SCORE |  | 1.7148
|  | 5 | BEST
B | 1.0569
C | 2.3338
D | 3.5 | 4 | EXCELLENT
G | 2.25
|  | 3 | GOOD
|  | 2 | FAIRLY GOOD
|  | 1 | PASS
|  | 0 | MINIMUM
|  | -1 | NEGATIVE